Calgary receiving source vessels
Start
Scan Assign new aliquots
Add new patient if doesn't exists
aliquots are assign to a pallet. This pallet has a position in Calgary freezer
Add new shipment
Add patient visit
Scan Link: aliquots are linked to a patient visit

---
Calgary dispatch aliquots to CBSR Edmonton
A summary of pallets (product barcode and position) is displayed
Select study (that can be dispatched) from which aliquots should be part of
User enter waybill number
Select site to which it will be dispatched
User click ok
Take a pallet in their freezer
Repeat for each pallet
A Dispatched shipment is registered with current date and all previous informations.
A notification is send to Edmonton Site
A Manifest is printed
Scan the product barcode
The pallet is added to the list of pallets to be sent (cannot add the same 2 times)
Pallets and aliquots are tags as “dispatched” + old pallet position is free to be used again
Verification is made to be sure all aliquots are part of the right study. Ok will be disabled is verification failed
User click ok
Pallets and manifest
are sent to Edmonton

---
Calgary Pallet Dispatched Inventory ?
To be done later, when the whole dispatch procedure is done
Product Barcode	Freezer Location	Status
NUN123		In transit
NUN456		Received
NUN789	01BG10	Pending

---
CBSR Edmonton receive dispatched aliquots
Pallet product barcode is scanned
Repeat for each received pallet
Should we also scan the aliquot inside the pallet ?
Go to receiving dispatch shipment view (?)
ShipmentContainer status and its aliquots is set to “received”
Correct ?
Enter waybill number
User click finish to “close” this shipment
Error investigation (?)
The dispatched shipment registered by Calgary is retrieved and displayed.
User do scan assign with the received pallets
The pallets can now be used by CBSR.
Aliquots are now in CBSR freezer
User check that basics informations (dates, number of pallets...) are correct between manifest, and screen
User click ok to proceed to shipment verification
The following procedure help the user to check that what is received is correct
YES
NO